## Q2
Job Reference | Location / Area | Date Reported | Description of Issue (Redacted) | Current Status
29114 | Greenock Ambulance Station | March 2026 | Light fitting replacement – additional works identified | Programmed
28890 | Greenock Workshop | February 2026 | Replace reels on exhaust extraction system | Programmed
28882 | Greenock Workshop | February 2026 | Workshop compressor not holding air due to damaged valve | Programmed
28524 | Greenock Workshop | January 2026 | Water ingress through roller doors causing flooding during heavy rain | Programmed
26848 | Greenock Ambulance Station | September 2025 | Excavate and install ducting | Programmed
26178 | Greenock Workshop | July 2025 | Extractor fan not operating effectively following health and safety audit | Programmed

## Q3
Job Reference | Location | Date Reported | Description of Issue | Site Type | Status
284223 | Greenock | 2022-01-07 15:11 | Several leaks coming from various parts of the guttering - 3 severe leaks at staff entrance to the station | Greenock Ambulance Station | Outstanding
284947 | Greenock Workshop | 2022-01-17 13:34 | Jacking beams Locking pin seized - As a result of Allianz inspection | Greenock Workshop | Outstanding
285277 | Greenock Workshop | 2022-01-20 13:08 | Ramp jack has failed | Greenock Workshop | Outstanding
286020 | Greenock | 2022-02-03 10:24 | Remedial works carried out at the time of electrical ppm | Greenock Ambulance Station | Outstanding
286024 | Greenock Workshop | 2022-02-03 10:37 | Remedial works carried out at the time of electrical ppm. | Greenock Workshop | Outstanding
286726 | Greenock Workshop | 2022-02-16 13:29 | Abortive call to do PPM - engineer turned away by staff on site | Greenock Workshop | Outstanding
287557 | Greenock | 2022-03-03 08:06 | VCU cable high level damaged | Greenock Ambulance Station | Outstanding
287942 | Greenock Workshop | 2022-03-09 15:50 | No Hot water in Workshop | Greenock Workshop | Outstanding
288014 | Greenock | 2022-03-10 13:53 | OOH Wednesday 09/03 evening - Burnt ballast in drug store | Greenock Ambulance Station | Outstanding
288655 | Greenock Workshop | 2022-03-23 09:29 | Toilet not flushing - flushing mechanism problem - only one toilet there | Greenock Workshop | Outstanding
288880 | Greenock | 2022-03-28 08:26 | Choked WC | Greenock Ambulance Station | Outstanding
290958 | Greenock Workshop | 2022-05-05 16:48 | Door closer broken off main door | Greenock Workshop | Outstanding
291531 | Greenock Workshop | 2022-05-17 09:54 | Ants in Kitchen | Greenock Workshop | Outstanding
292011 | Greenock Workshop | 2022-05-25 14:49 | Skip hire | Greenock Workshop | Outstanding
292796 | Greenock Workshop | 2022-06-10 09:03 | Compressed air line filter leaking water above electrical box for ramp | Greenock Workshop | Outstanding
294658 | Greenock | 2022-07-20 15:43 | Water cooler / dispenser in the kitchen is leaking causing a puddle on the kitchen floor. This could be a potential slip hazard. | Greenock Ambulance Station | Outstanding
294870 | Greenock | 2022-07-25 15:29 | Water cooler / dispenser in the kitchen is leaking causing a puddle on the kitchen floor. This could be a potential slip hazard. | Greenock Ambulance Station | Outstanding
295667 | Greenock | 2022-08-08 09:28 | Issue with a dangerous plug assembly in the kitchen , , the screw attaching the plug to the drain is not securing the drain in place. | Greenock Ambulance Station | Outstanding
296037 | Greenock Workshop | 2022-08-15 15:38 | Quote - Garage door repairs following PPM | Greenock Workshop | Outstanding
296043 | Greenock Workshop | 2022-08-15 16:05 | Additional works at FFE | Greenock Workshop | Outstanding
296044 | Greenock | 2022-08-15 16:05 | Additional works at FFE | Greenock Ambulance Station | Outstanding
297006 | Greenock | 2022-09-01 09:45 | The flushing handle in the left-hand cubicle is broken in male toilets | Greenock Ambulance Station | Outstanding
298035 | Greenock | 2022-09-21 10:03 | Charging point in the first bay under the canopy is not working | Greenock Ambulance Station | Outstanding
298350 | Greenock Workshop | 2022-09-27 08:30 | Two poster ramp - ramp barrel has sheared a bolt and is sitting at a funny angle - cannot be used | Greenock Workshop | Outstanding
298856 | Greenock Workshop | 2022-10-06 08:54 | 4 post ramp is leaking oil | Greenock Workshop | Outstanding
299608 | Greenock Workshop | 2022-10-21 08:29 | Roller shutter door is jammed open - unable to secure workshop | Greenock Workshop | Outstanding
300337 | Greenock | 2022-11-04 09:53 | Light off on immersion heater - to be checked (reported by Spie at November Temperature Testing) | Greenock Ambulance Station | Outstanding
300571 | Greenock | 2022-11-08 16:25 | Left cubicle in male toilet has a damaged flush handle (not flushing), kitchen sink also draining slowly | Greenock Ambulance Station | Outstanding
302583 | Greenock | 2022-12-15 10:08 | No heating - hot water is temperamental | Greenock Ambulance Station | Outstanding
303289 | Greenock Workshop | 2023-01-06 09:41 | Roller has come off garage door and bracket is bent (door still operational) | Greenock Workshop | Outstanding
304677 | Greenock | 2023-02-02 09:36 | 5 x VCU cables to be sent out | Greenock Ambulance Station | Outstanding
305385 | Greenock | 2023-02-17 13:07 | Power washer hose is damaged, leaking when switched on. EHOP 2182 | Greenock Ambulance Station | Outstanding
305941 | Greenock | 2023-03-01 15:17 | Additional works at Electrical PPM | Greenock Ambulance Station | Outstanding
305944 | Greenock Workshop | 2023-03-01 15:20 | Additional works carried out at Electrical maintenance | Greenock Workshop | Outstanding
306160 | Greenock | 2023-03-06 13:10 | C2 repairs following electrical PPM visit - EHOP 3294 | Greenock Ambulance Station | Outstanding
306166 | Greenock | 2023-03-06 13:39 | Quote - C2 repairs following electrical PPM - EHOP 3295 | Greenock Ambulance Station | Outstanding
306344 | Greenock Workshop | 2023-03-08 16:14 | Quote - Investigate blockage on exhaust extraction system following PPM | Greenock Workshop | Outstanding
306493 | Greenock Workshop | 2023-03-13 09:18 | Workshop door key pad not working. cant get access to workshop. EHOP 4367 | Greenock Workshop | Outstanding
306664 | Greenock Workshop | 2023-03-15 15:19 | Drains at front of workshop doors blocked - EHOP 4410 | Greenock Workshop | Outstanding
308988 | Greenock Workshop | 2023-04-17 09:46 | Electric shower in male toilet has no hot water (Ehop 5565) | Greenock Workshop | Outstanding
309201 | Greenock | 2023-04-20 15:23 | Power washer not powering up and is not able to be used (ehop 5596) | Greenock Ambulance Station | Outstanding
309441 | Greenock | 2023-04-26 11:26 | Cable at charging point under canopy, nearest to garage, has ripped out at mains socket (Ehop 5621) | Greenock Ambulance Station | Outstanding
311285 | Greenock | 2023-06-07 15:19 | 3 x VCU cables to be sent out (Ehop 5815) | Greenock Ambulance Station | Outstanding
311286 | Greenock | 2023-06-07 15:21 | **2 x VCU cables to be mended (Next time on site) | Greenock Ambulance Station | Outstanding
311883 | Greenock | 2023-06-19 12:20 | Water cooler / dispenser in kitchen is leaking on to floor causing a potential slip hazard. - EHOP 9882 | Greenock Ambulance Station | Outstanding
312530 | Greenock | 2023-07-03 08:48 | Lighting in not working in female locker room (Ehop 9949) | Greenock Ambulance Station | Outstanding
313558 | Greenock | 2023-07-26 10:28 | VCU cable to be re-attached to gantry (ehop 10093) | Greenock Ambulance Station | Outstanding
313585 | Greenock Workshop | 2023-07-26 14:01 | Quote - Lift (31560) requires new ropes within one month following Allianz report | Greenock Workshop | Outstanding
313881 | Greenock | 2023-08-02 14:47 | Ladies toilet not flushing - cistern not filling with water (ehop 10119) | Greenock Ambulance Station | Outstanding
314169 | Greenock Workshop | 2023-08-09 14:30 | Air leak from drain valve in workshop for air supply from air compressor, also hydraulic press not holiding pressure (Ehop 10158) | Greenock Workshop | Outstanding
314174 | Greenock Workshop | 2023-08-09 15:31 | Left workshop door (when in workshop) when releasing door down will drop to floor uncontrollably (Ehop 10160) | Greenock Workshop | Outstanding
314263 | Greenock Workshop | 2023-08-11 14:20 | Quote - Mechanise garage door | Greenock Workshop | Outstanding
315100 | Greenock Workshop | 2023-08-31 13:26 | Quote - Supply and fit 415 volt 16 amp 5 pin commando wall socket high up on wall in line with fire blanket at garage door | Greenock Workshop | Outstanding
317225 | Greenock | 2023-09-27 16:00 | Guttering at main entry door under canopy is leaking when raining on left hand side flooding walkway - EHOP 10425 | Greenock Ambulance Station | Outstanding
317226 | Greenock | 2023-09-27 16:07 | Strip light in ASM Office [office 2} flickering at door beside work desk - EHOP 10427 | Greenock Ambulance Station | Outstanding
317293 | Greenock | 2023-09-29 09:04 | Quote - Leaking kitchen urn following repair yesterday - EHOP 10443 | Greenock Ambulance Station | Outstanding
317487 | Greenock | 2023-10-04 08:45 | Toilet is not flushing requires several attempts, handle needs attention as this spins, also kitchen sink blocked (Ehop 10466) | Greenock Ambulance Station | Outstanding
317488 | Greenock | 2023-10-04 08:54 | Outside (middle) store light not working, requires replacement (Ehop 10468) | Greenock Ambulance Station | Outstanding
318059 | Greenock | 2023-10-17 09:03 | Female / Disabled toilet is leaking - EHOP 10554 | Greenock Ambulance Station | Outstanding
318319 | Greenock | 2023-10-23 09:53 | Flickering light outside PTS locker room - EHOP 10587 | Greenock Ambulance Station | Outstanding
318343 | Greenock | 2023-10-23 14:37 | Quote - install replacement soil waste pipework | Greenock Ambulance Station | Outstanding
319507 | Greenock | 2023-11-16 09:14 | Ladies disabled toilet has been repaired yesterday by plumber, this has since developed a leak around U bend - EHOP 10741 | Greenock Ambulance Station | Outstanding
320729 | Greenock | 2023-12-12 16:30 | Replace leaking Automatic Air Vent at PPM | Greenock Ambulance Station | Outstanding
320925 | Greenock Workshop | 2023-12-15 15:52 | **Quote - Replace pressure switch and flue on high level gas warm air heater following PPM | Greenock Workshop | Outstanding
321477 | Greenock | 2024-01-05 10:58 | Vehicle washer - replacement hose and lance required (Ehop 11062) | Greenock Ambulance Station | Outstanding
321652 | Greenock | 2024-01-09 14:48 | Radiator in T/L office not working. Also radiators in kitchen and female shower room not working (Ehop 11102) BOILER ISSUES | Greenock Ambulance Station | Outstanding
322044 | Greenock Workshop | 2024-01-18 12:12 | Replace valves on two radaitors EHOP 11172 Boiler issues | Greenock Workshop | Outstanding
322893 | Greenock Workshop | 2024-02-07 12:51 | Central heating not working in all areas around workshop- EHOP 11347 | Greenock Workshop | Outstanding
322926 | Greenock | 2024-02-08 08:56 | Water cooler has developed a leak and has soaked the floor and cupboards underneath (Ehpo 11350) | Greenock Ambulance Station | Outstanding
322939 | Greenock | 2024-02-08 11:34 | Lighting repairs throughout station (Ehop 11352) | Greenock Ambulance Station | Outstanding
322941 | Greenock | 2024-02-08 11:38 | Clear drains in car park (Ehop 11353) | Greenock Ambulance Station | Outstanding
322985 | Greenock Workshop | 2024-02-09 10:32 | **Quote - Replace fan on high level gas heater (to be charged as time and materials) | Greenock Workshop | Outstanding
324013 | Greenock | 2024-03-05 13:38 | Vehicle charging cable has been damaged and ripped out at mains supply on roof on parking space closest to workshop.- EHOP 11539 | Greenock Ambulance Station | Outstanding
324026 | Greenock | 2024-03-05 16:26 | Disabled toilet is not flushing, issues in the past with the cistern. - EHOP 11542 | Greenock Ambulance Station | Outstanding
324589 | Greenock Workshop | 2024-03-21 12:50 | Return visit to complete repair on air leak from drain valve in workshop for air supply from air compressor | Greenock Workshop | Outstanding
|  |  |  | Greenock Ambulance Station | Outstanding
|  |  |  | Greenock Workshop | Outstanding

## Q4
Financial Period | Total Spend (£)
May 2024 – March 2026 (period covered) | 17928.82